## 210315
TOTAL ALKALINITY | [11 empty] | Blue indicates data copied from log, field, or raw data sheets
Run Date: | 2021-03-15 |  | End of Cal: | 12:01 |  | CRM Density (kgL-1) | 1.0221 |  | Time - end of calib | 12:01 | update this | Entered from CRM sheets at time of data processing
Operator: | KM |  | CRM TA: | 2131.51 |  | CRM TA (mmolL-1) | 2.1786 |  | Slope: | -0.017123 | update this | Heavy border cells = drift calculations
Acid Batch: | 201101 |  | CRM Salinity: | 32.291 |  | CRM TA Measured (mmolL-1) | 2.1676 |  | [HCl](mM): | 97.91 | update this | Drift corrections completed
Volume: | 18 |  | CRM Temp: | 22.3 |  |  | 1.0051 |  | Cinitial | 0.097414 | update this
[9 empty] | Cactual | 0.09791 | update this | [5 empty] | Drift Corrections |  |  | FINAL | FINAL
[9 empty] | Acid check | 2.899e-07 | If not zero, correct sample values by multiplying by Cactual/[HCl]/1000
Sample ID | Time | TA (mM) | TA (uM) | TA (uM) corrected | Salinity | Temperature | Density | TA' (umolkg-1) | Vol. HgCl2 (uL) | Vol. sample (mL) | HgCl2 CF | TA (umolkg-1) | TA_avg (uM) | TA_stdev (uM) | TA_avg (umolkg-1) | TA_stdev (umolkg-1) | T1-T0 | Drift correction | New TA (umolkg-1) | New TA_avg (umolkg-1) | New TA_stdev (umolkg-1)
esl06b_16 | 11:45 | 2.1676 | 2167.6 | 2178.6221 | 32.291 | 22.3 | 1.0221 | 2131.5592 | 50 | 250 | 1.0002 | 2131.5592 |  |  |  |  | -16.25 | 0.11595 | 2131.6751 |  |  | esl06b_16
esl06b_16 | 12:01 | 2.1675 | 2167.5 | 2178.5216 | 32.291 | 22.3 | 1.0221 | 2131.4608 | 50 | 250 | 1.0002 | 2131.4608 | 2178.5719 | 0.07107 | 2131.51 | 0.069535 | 0 | 0 | 2131.4608 | 2131.568 | 0.15152 | esl06b_16
OOI_1400 | 12:25 | 2.3822 | 2382.2 | 2382.2 | 35.127 | 22.3 | 1.0242 | 2325.8417 | 100 | 250 | 1.0004 | 2325.8417 |  |  |  |  | 24.4167 | -0.17422 | 2325.6675 |  |  | OOI_1400
OOI_1400 | 12:40 | 2.3816 | 2381.6 | 2381.6 | 35.127 | 22.3 | 1.0242 | 2325.2559 | 100 | 250 | 1.0004 | 2326.186 | 2381.9 | 0.42426 | 2326.0138 | 0.24345 | 38.8333 | -0.27708 | 2325.9089 | 2325.7882 | 0.17072 | OOI_1400
OOI_1401 | 12:54 | 2.3931 | 2393.1 | 2393.1 | 35.3463 | 22.3 | 1.0244 | 2336.1039 | 100 | 250 | 1.0004 | 2337.0383 |  |  |  |  | 53.4167 | -0.38113 | 2336.6572 |  |  | OOI_1401
OOI_1401 | 13:08 | 2.3912 | 2391.2 | 2391.2 | 35.3463 | 22.3 | 1.0244 | 2334.2491 | 100 | 250 | 1.0004 | 2335.1828 | 2392.15 | 1.3435 | 2336.1106 | 1.312 | 66.75 | -0.47627 | 2334.7066 | 2335.6819 | 1.3793 | OOI_1401
OOI_1402 | 13:24 | 2.3909 | 2390.9 | 2390.9 | 35.3466 | 22.3 | 1.0244 | 2333.9558 | 100 | 250 | 1.0004 | 2334.8893 |  |  |  |  | 82.6667 | -0.58984 | 2334.2995 |  |  | OOI_1402
OOI_1402 | 13:36 | 2.3985 | 2398.5 | 2398.5 | 35.3466 | 22.3 | 1.0244 | 2341.3748 | 100 | 250 | 1.0004 | 2342.3113 |  |  |  |  | 95.25 | -0.67962 | 2341.6317 |  |  | OOI_1402
OOI_1402 | 13:50 | 2.3901 | 2390.1 | 2390.1 | 35.3466 | 22.3 | 1.0244 | 2333.1748 | 100 | 250 | 1.0004 | 2334.1081 | 2390.5 | 0.56569 | 2334.4987 | 0.55243 | 108.9167 | -0.77713 | 2333.331 | 2333.8152 | 0.68487 | OOI_1402
ooi_1403 | 14:14 | 2.3583 | 2358.3 | 2358.3 | 34.4192 | 22.3 | 1.0237 | 2303.716 | 100 | 250 | 1.0004 | 2304.6375 |  |  |  |  | 133.25 | -0.95075 | 2303.6867 |  |  | ooi_1403
ooi_1403 | 14:27 | 2.3467 | 2346.7 | 2346.7 | 34.4192 | 22.3 | 1.0237 | 2292.3845 | 100 | 250 | 1.0004 | 2293.3014 |  |  |  |  | 145.75 | -1.0399 | 2292.2615 |  |  | ooi_1403
ooi_1403 | 14:41 | 2.3467 | 2346.7 | 2346.7 | 34.4192 | 22.3 | 1.0237 | 2292.3845 | 100 | 250 | 1.0004 | 2293.3014 | 2346.7 | 0 | 2293.3014 | 0 | 159.5833 | -1.1386 | 2292.1628 | 2292.2121 | 0.069793 | ooi_1403
ooi_1405 | 14:59 | 2.2779 | 2277.9 | 2277.9 | 32.8021 | 22.3 | 1.0225 | 2227.8475 | 100 | 250 | 1.0004 | 2228.7386 |  |  |  |  | 177.75 | -1.2683 | 2227.4704 |  |  | ooi_1405
ooi_1405 | 15:12 | 2.2764 | 2276.4 | 2276.4 | 32.8021 | 22.3 | 1.0225 | 2226.3805 | 100 | 250 | 1.0004 | 2227.271 | 2277.15 | 1.0607 | 2228.0048 | 1.0378 | 191.4167 | -1.3658 | 2225.9052 | 2226.6878 | 1.1067 | ooi_1405
OOI_1402 | 15:32 | 2.3952 | 2395.2 | 2395.2 | 35.3466 | 22.3 | 1.0244 | 2338.1533 | 100 | 250 | 1.0004 | 2339.0886 |  |  |  |  | 210.5 | -1.5019 | 2337.5867 |  |  | OOI_1402
OOI_1402 | 15:47 | 2.3926 | 2392.6 | 2392.6 | 35.3466 | 22.3 | 1.0244 | 2335.6153 | 100 | 250 | 1.0004 | 2336.5495 |  |  |  |  | 225.5833 | -1.6096 | 2334.94 |  |  | OOI_1402
OOI_1402 | 16:01 | 2.3927 | 2392.7 | 2392.7 | 35.3466 | 22.3 | 1.0244 | 2335.7129 | 100 | 250 | 1.0004 | 2336.6472 | 2392.65 | 0.070711 | 2336.5983 | 0.069054 | 240.4167 | -1.7154 | 2334.9318 | 2334.9359 | 0.0057842 | OOI_1402
esl06b_16 | 16:16 | 2.1801 | 2180.1 | 2180.1 | 32.291 | 22.3 | 1.0221 | 2133.0051 | 50 | 250 | 1.0002 | 2133.4317 |  |  |  |  | 255.3333 | -1.8218 | 2131.6099 |  |  | esl06b_16
esl06b_16 | 16:30 | 2.1801 | 2180.1 | 2180.1 | 32.291 | 22.3 | 1.0221 | 2133.0051 | 50 | 250 | 1.0002 | 2133.4317 | 2180.1 | 0 | 2133.4317 | 0 | 269.3333 | -1.9217 | 2131.51 | 2131.5599 | 0.070634 | esl06b_16
Calibration Date & Time | 2021-03-15 | 12:18 |  |  | CRM Drift Correction
T(C) = | 22.3 |  |  |  | CRM change (umolkg-1) | -1.9217 | Aleck: no corr if <3.0
| pH | EMF(mV) |  |  | Time difference (min) | 269.3333
| 4.01 | 171.8 |  |  | Drift (umolkg-1)/min | -0.0071351
| 7 | -3.7
| 10.01 | -178.6
pH = | 6.9467 | -0.017123 | * EMF(mV)
| C(HCl)(mM) | 97.91

## 210518_processed_TA
TOTAL ALKALINITY
Run Date: | 2021-05-18 |  | End of Cal: | 44 | 13:47
Operator: | LC |  | CRM TA: | 2131.51 |  | CRM TA: | 2.1785 |  | Slope: | -0.017222
Acid Batch: |  |  | CRM Salinity: | 32.291 |  | Input TA: |  |  | [HCl](mM): | 102.211
Volume: | 18 |  | CRM Temp: | 22.4
SampleID | Time | TA(mM) | Init. pH | TA(uM) | TA(uM) Corrected | Salinity | Temperature | Density | TA(umolkg-1) | Volume HgCl2(uL) | Volume Sample(mL) | HgCl2 CF | TA(umolkg-1) | TA_avg (umolkg-1) | TA_std (umolkg-1)
esl06b_03 | 13:16 | 2.3889 | 8.001 | 2388.9 | NaN | 32.291 | 22.4 | 1.0221 | NaN | 50 | 250 | 1.0002 | NaN | flag | flag
esl06b_03 | 13:31 | 2.3816 | 8.002 | 2381.6 | NaN | 32.291 | 22.4 | 1.0221 | NaN | 50 | 250 | 1.0002 | NaN
esl06b_03 | 13:44 | 2.383 | 8.004 | 2383 | NaN | 32.291 | 22.4 | 1.0221 | NaN | 50 | 250 | 1.0002 | NaN
RSA_001a | 14:18 | 2.3729 | 7.929 | 2372.9 | NaN | 31.974 | 22.4 | 1.0218 | NaN | 100 | 250 | 1.0004 | NaN | flag | flag
RSA_001a | 14:32 | 2.3665 | 7.896 | 2366.5 | NaN | 31.974 | 22.4 | 1.0218 | NaN | 100 | 250 | 1.0004 | NaN
RSA_001a | 14:45 | 2.3663 | 7.892 | 2366.3 | NaN | 31.974 | 22.4 | 1.0218 | NaN | 100 | 250 | 1.0004 | NaN
rsa_001b | 15:32 | 2.3706 | 7.927 | 2370.6 | NaN | 32.441 | 22.4 | 1.0222 | NaN | 100 | 250 | 1.0004 | NaN | NaN | NaN
rsa_001b | 15:45 | 2.3696 | 7.915 | 2369.6 | NaN | 32.441 | 22.4 | 1.0222 | NaN | 100 | 250 | 1.0004 | NaN
rsa_002a | 16:02 | 2.3749 | 7.921 | 2374.9 | NaN | 32.534 | 22.4 | 1.0222 | NaN | 100 | 250 | 1.0004 | NaN | flag | flag
rsa_002a | 16:15 | 2.3726 | 7.907 | 2372.6 | NaN | 32.534 | 22.4 | 1.0222 | NaN | 100 | 250 | 1.0004 | NaN
rsa_002a | 16:27 | 2.3736 | 7.922 | 2373.6 | NaN | 32.534 | 22.4 | 1.0222 | NaN | 100 | 250 | 1.0004 | NaN
rsa_002b | 16:44 | 2.3793 | 7.918 | 2379.3 | NaN | 31.393 | 22.4 | 1.0214 | NaN | 100 | 250 | 1.0004 | NaN | flag | flag
rsa_002b | 16:58 | 2.3742 | 7.918 | 2374.2 | NaN | 31.393 | 22.4 | 1.0214 | NaN | 100 | 250 | 1.0004 | NaN
rsa_002b | 17:14 | 2.375 | 7.918 | 2375 | NaN | 31.393 | 22.4 | 1.0214 | NaN | 100 | 250 | 1.0004 | NaN
RSA_003a | 17:29 | 2.407 | 7.91 | 2407 | NaN | 33 | 22.4 | 1.0226 | NaN | 100 | 250 | 1.0004 | NaN | NaN | NaN
RSA_003a | 17:43 | 2.4053 | 7.907 | 2405.3 | NaN | 33 | 22.4 | 1.0226 | NaN | 100 | 250 | 1.0004 | NaN
RSA_003b | 18:01 | 2.4004 | 7.953 | 2400.4 | NaN | 32.914 | 22.4 | 1.0225 | NaN | 100 | 250 | 1.0004 | NaN | NaN | NaN
RSA_003b | 18:15 | 2.3999 | 7.952 | 2399.9 | NaN | 32.914 | 22.4 | 1.0225 | NaN | 100 | 250 | 1.0004 | NaN
RSA_004a | 18:31 | 2.4065 | 7.934 | 2406.5 | NaN | 33.029 | 22.4 | 1.0226 | NaN | 100 | 250 | 1.0004 | NaN | flag | flag
RSA_004a | 18:46 | 2.403 | 7.905 | 2403 | NaN | 33.029 | 22.4 | 1.0226 | NaN | 100 | 250 | 1.0004 | NaN
RSA_004a | 18:59 | 2.4025 | 7.896 | 2402.5 | NaN | 33.029 | 22.4 | 1.0226 | NaN | 100 | 250 | 1.0004 | NaN
RSA_004b | 19:13 | 2.4087 | 7.939 | 2408.7 | NaN | 32.992 | 22.4 | 1.0226 | NaN | 100 | 250 | 1.0004 | NaN | flag | flag
RSA_004b | 19:26 | 2.4056 | 7.936 | 2405.6 | NaN | 32.992 | 22.4 | 1.0226 | NaN | 100 | 250 | 1.0004 | NaN
RSA_004b | 19:38 | 2.406 | 7.939 | 2406 | NaN | 32.992 | 22.4 | 1.0226 | NaN | 100 | 250 | 1.0004 | NaN
RSA_005a | 19:54 | 2.4065 | 7.927 | 2406.5 | NaN | 32.986 | 22.4 | 1.0226 | NaN | 100 | 250 | 1.0004 | NaN | NaN | NaN
RSA_005a | 20:06 | 2.4064 | 7.936 | 2406.4 | NaN | 32.986 | 22.4 | 1.0226 | NaN | 100 | 250 | 1.0004 | NaN
RSA_006A | 20:23 | 2.3885 | 7.913 | 2388.5 | NaN | 32.9 | 22.4 | 1.0225 | NaN | 100 | 250 | 1.0004 | NaN | NaN | NaN
RSA_006A | 20:36 | 2.3887 | 7.938 | 2388.7 | NaN | 32.9 | 22.4 | 1.0225 | NaN | 100 | 250 | 1.0004 | NaN
RSA_005B | 20:51 | 2.4071 | 7.953 | 2407.1 | NaN | 32.954 | 22.4 | 1.0226 | NaN | 100 | 250 | 1.0004 | NaN | flag | flag
RSA_005B | 21:03 | 2.4043 | 7.963 | 2404.3 | NaN | 32.954 | 22.4 | 1.0226 | NaN | 100 | 250 | 1.0004 | NaN
RSA_005B | 21:16 | 2.4046 | 7.95 | 2404.6 | NaN | 32.954 | 22.4 | 1.0226 | NaN | 100 | 250 | 1.0004 | NaN
ESL_06b_03 | 21:30 | 2.3023 | 7.996 | 2302.3 | NaN | 32.291 | 22.4 | 1.0221 | NaN | 50 | 250 | 1.0002 | NaN | NaN | NaN
ESL_06b_03 | 21:45 | 2.3034 | 8.005 | 2303.4 | NaN | 32.291 | 22.4 | 1.0221 | NaN | 50 | 250 | 1.0002 | NaN
esl06b_03 | 22:04 | 2.3022 | 8.007 | 2302.2 | NaN | 32.291 | 22.4 | 1.0221 | NaN | 50 | 250 | 1.0002 | NaN | NaN | n/a
Calibration Date & Time | 2021-05-18 | 13:55
T(C) = | 22.3
| pH | EMF(mV)
| 4.01 | 169.7
| 7 | -4.9
| 10.01 | -178.7
pH = | 6.9269 | -0.017222 | * EMF(mV)
| C(HCl)(mM) | 102.211